## Sheet1
| failcodeID | description
0 | 2 | (Light out)
1 | 3 | (Light off/on)
2 | 4 | (Light dim)
3 | 5 | (Pole leaning)
4 | 6 | (Base door missing)
5 | 7 | (Pole down)
6 | 8 | (24-Hour burning)
7 | 9 | (Globe, lens dirty)
8 | 10 | (Globe, lens hanging)
9 | 11 | (Globe, lens missing)
10 | 12 | (Trim tree from Light)
11 | 13 | (No current)
12 | 14 | TRIM TREE FROM THE HOUSE
13 | 15 | (Trim tree from wires)
14 | 16 | TRIM ALL DEAD WOOD
15 | 17 | INVESTIGATION/PICTURE
16 | 18 | (Convert street light)
17 | 19 | (Transfer Street Light Equipment)
18 | 23 | SHADE LIGHT
19 | 25 | WELD BASE DOOR
20 | 26 | UR-RESPOND via LETTER/EMAIL
21 | 27 | UR-LEGAL/SUBPOENA
22 | 28 | SHEETING & SHORING
23 | 31 | (Relocate Street Light Pole/Equipment)
24 | 32 | (DC SL OH wires down)
25 | 33 | (Install knockdown pole/equipment)
26 | 34 | INSTALL SL FOUNDATION
27 | 35 | SL cut in dirt
28 | 36 | SL cut in sidewalk
29 | 37 | SL cut in roadway
30 | 38 | SL cut in alley
31 | 39 | INSTALL T-BASE
32 | 40 | (Install knockdown arm)
33 | 41 | ROD & CLEAN EXISTING CONDUIT SYSTEM
34 | 42 | (DC SL Arm and/or fixture hanging)
35 | 43 | (Install knockdown arm and fixture)
36 | 44 | REMOVE FOUNDATION
37 | 45 | (Replace T-base under standing pole)
38 | 46 | WOOD POLE REMOVAL
39 | 47 | WOOD POLE RELOCATION
40 | 48 | (Remove Street Light Pole/Equipment)
41 | 49 | (Install knockdown fixture)
42 | 51 | Repair sidewalk
43 | 52 | REMOVE/ INSTALL ARM & FIXTURE
44 | 53 | REMOVE SL EQUIPMENT
45 | 54 | INSTALL/REPAIR CONDUIT
46 | 55 | (Convert alley light)
47 | 56 | REFFERED TO DDOT NO CURRENT
48 | 57 | SCENARIO # 1
49 | 58 | SCENARIO # 1A
50 | 59 | SCENARIO # 2
51 | 60 | SCENARIO # 3
52 | 61 | SCENARIO # 3A
53 | 62 | SCENARIO # 4
54 | 63 | WOOD POLE INSTALLATION
55 | 64 | THIRD PARTY
56 | 65 | (Install base door)
57 | 66 | (Pole missing)
58 | 67 | CABLE/CONDUIT DAMAGED
59 | 68 | REMOVE REMOTE RELAY
60 | 69 | (Defective fixture)
61 | 70 | REMOVE FIXTURE
62 | 71 | REMOVE CABLE
63 | 72 | (Clean DC SL Manhole)
64 | 73 | (Tree on wires)
65 | 74 | (Pole\Equipment hit & damaged)
66 | 75 | NEED PUBLIC SPACE PERMIT
67 | 76 | (Install missing fixture)
68 | 77 | START GROUP INCANDESCENT RELAMPING
69 | 78 | START GROUP INCANDESCENT RELAMPING 2
70 | 89 | LAMPS
71 | 90 | PHOTO CELL
72 | 91 | BALLAST
73 | 92 | STARTER
74 | 93 | POWER DOORS
75 | 94 | DEF FIX
76 | 95 | DEFECTIVE FIXTURE CONVERSION KIT
77 | 96 | DEFECTIVE FIXTURE 2B CONVERTED
78 | 97 | (Install Pole ID#)
79 | 98 | BASE DOOR
80 | 99 | BASE
81 | 100 | GLOBES
82 | 101 | CONDUIT
83 | 102 | OVERHEAD CABLE
84 | 103 | UNDERGROUND CABLE
85 | 104 | OTHER
86 | 105 | TRIM TREE
87 | 106 | UNDERGROUND CABLE IN CONDUIT
88 | 107 | CONVERSION
89 | 108 | EMPLOYEE TRAINING
90 | 109 | (Install Foundation cut in dirt,sidewalk,street and alley)
91 | 110 | EXCAVATION
92 | 111 | RESPOND/MAKE SAFE
93 | 112 | SL CUT REPAIR
94 | 113 | SL POLE
95 | 114 | DC FURNISHED POLE
96 | 115 | (Install Pole/Equipment)
97 | 116 | LABORS/RATES
98 | 117 | TRUCK/RATES
99 | 118 | PEPCO PAYMENT
100 | 119 | CLEAN MANHOLE
101 | 120 | (Install Arm)
102 | 121 | FURNISHED POLE
103 | 122 | T-BASE
104 | 123 | DC FURNISTED T- BASE
105 | 124 | F & I T-BASE
106 | 125 | (Replace T-Base Entered by Severn Base Year)
107 | 126 | FURNISHED T-BASE
108 | 127 | GROUND WIRE
109 | 128 | (Manhole Inventory Inspection)
110 | 129 | LUMINAIRE CUTOFF
111 | 130 | CONVERSION KIT
112 | 131 | (Install Globe,Lens)
113 | 132 | (Install Fixture)
114 | 133 | PAVEMENT MARKING
115 | 134 | TRAFFIC FLAG
116 | 135 | TRAFFIC DEVICE
117 | 136 | 15" BC FOUNDATION
118 | 137 | GROUND ROD
119 | 138 | 10 FT
120 | 139 | PROBE-DISCOVERY
121 | 140 | DEVELOPING PROCEDURES
122 | 141 | REMOVAL
123 | 142 | (Repair Pole ID#)
124 | 143 | F & I T-BASE DOOR
125 | 144 | (Install Internal/External Shield)
126 | 167 | Bad / Dead Battery (BB)
127 | 168 | Blinking Colon (BC)
128 | 169 | Bad Dome (BD)
129 | 170 | Bad Housing (BH)
130 | 171 | Coin Jam (CJ)
131 | 172 | Faulty Board (FB) or (MS)
132 | 173 | Flashing Fail (FF)
133 | 174 | Graffiti (GM)
134 | 175 | Hansen Reject File or (MC)
135 | 176 | Intentional Jam (IJ)
136 | 177 | Missing Label (ML)
137 | 178 | No Display (ND)
138 | 179 | No Time for Coin (NO)
139 | 180 | Out of Order (OO)
140 | 181 | Stuck on Max (SM)
141 | 182 | Vandalized (VA)
142 | 183 | Wrong Program (WP)
143 | 184 | Security Actions
144 | 185 | Post Crew Actions
145 | 186 | TU Actions (TU)
146 | 187 | NX Actions (NX)
147 | 188 | Hansen Outages
148 | 189 | -??-
149 | 190 | -??-
150 | 191 | Meter Installation
151 | 192 | New Meter Installation
152 | 193 | INSTALL / BAG ENPAT SIGNS
153 | 194 | Navigation Light Out
154 | 195 | (Overhead guide sign light out)
155 | 196 | (Underpass light out)
156 | 197 | (Group Relamping Program)
157 | 198 | Radio Tower Light Out
158 | 199 | Elephant Ear(s) Missing
159 | 200 | MPD Hot Spot Outage
160 | 201 | (MPD hot spot light out)
161 | 202 | (MPD hot spot outage no curent)
162 | 203 | No Current With Surface Cut
163 | 204 | (T-base rust hole in wall)
164 | 205 | MANHOLE INSPECTION
165 | 206 | (Welcome to Washington sign light out)
166 | 207 | (Welcome to Washington sign no current)
167 | 208 | Overhead Sign Outage No Current
168 | 209 | (Bridge light out)
169 | 210 | (Bridge light no current)
170 | 211 | Fender light out
171 | 212 | Obstruction light out
172 | 213 | CALLER WANTS LIGHT UP-GRADED
173 | 214 | DC SL OH Wires sill missing
174 | 215 | SHOE HANGING ON WIRES
175 | 246 | BAG METER
176 | 247 | BAD DOME
177 | 248 | BAD HOUSING
178 | 249 | BENT/LOOSE POLE
179 | 250 | BENT/LOOSE YOKE
180 | 251 | COM FAILURE
181 | 252 | CAN MISSING
182 | 253 | COIN BOX INOPERABLE
183 | 254 | CAN'T OPEN
184 | 255 | CARD JAMMED
185 | 256 | LOW BATTERY
186 | 257 | AUDIT DATA FAULTY
187 | 258 | FULL CAN
188 | 259 | Graffiti*
189 | 260 | LOOSE METER
190 | 261 | METER COMPLAINT
191 | 262 | MISSING LABEL
192 | 263 | MECH SWAP
193 | 264 | NO TIME FOR CARD
194 | 265 | NEXT PREV MAINT DUE
195 | 266 | CARD READER JAM
196 | 267 | SPOT CHECK
197 | 268 | TRANS UTILITY CK
198 | 269 | WRONG PROGRAM
199 | 270 | Bad Battery*
200 | 271 | BLINKING COLON
201 | 272 | Coin Jam*
202 | 273 | NOVRAM FAULT
203 | 274 | COIL FAULT
204 | 275 | DEAD BATTERY
205 | 276 | WAKE UP JAMMED
206 | 277 | COIL JAMMED
207 | 278 | FAULTY BOARD
208 | 279 | Flashing Fail*
209 | 280 | INTENTIONAL JAM
210 | 281 | NO DISPLAY
211 | 282 | No Time for Coin*
212 | 283 | Out of Order*
213 | 284 | STUCK ON MAX
214 | 285 | VANDALIZED
215 | 286 | WAKE UP JAM
216 | 287 | KNOCKED OUT METER
217 | 288 | MISSING METER
218 | 289 | REMOVE PERMANENT
219 | 290 | REMOVE TEMPORARILY
220 | 291 | BAG / ENPAT REMOVED
221 | 292 | FIXED BOARD (Repair)
222 | 293 | CLOSED/ ADJUDICATION (Repair)
223 | 294 | CLEAR CARD JAM (Repair)
224 | 295 | CLEAR COIN JAM (Repair)
225 | 296 | CLEANED METER (Repair)
226 | 297 | CAN REPLACED (Repair)
227 | 298 | DOME REPLACED
228 | 299 | DISMISS TICKET (Repair)
229 | 300 | FIXED DISPLAY (Repair)
230 | 301 | FIXED COIL (Repair)
231 | 302 | FIXED CARD READER (Repair)
232 | 303 | MECH CHECK OK (Repair)
233 | 304 | CLR INTENTIONAL JAM (Repair)
234 | 305 | LIABLE TICKET
235 | 306 | LUBRICATE LOCK (Repair)
236 | 307 | LOCK REPLACED (Repair)
237 | 308 | MULTIPLE ENTRY (Repair)
238 | 309 | NO TRANSACTIONS (Repair)
239 | 310 | METER O.K. (Repair)
240 | 311 | OPERABLE (Repair)
241 | 312 | PREVENTIVE MAINT (Repair)
242 | 313 | PROCESSED TU REQUEST (Repair)
243 | 314 | REPLACE BATTERY (Repair)
244 | 315 | REPAIR/REPLACE HSG (Repair)
245 | 316 | RE-PROGRAM METER (Repair)
246 | 317 | REPLACED LABEL (Repair)
247 | 318 | REPAIR POLE/YOKE (Repair)
248 | 319 | RESET (Repair)
249 | 320 | SWAPPED O.K. MECH (Repair)
250 | 321 | SWAPPED MECHANISM (Repair)
251 | 322 | UNDER CONSTRUCTION (Repair)
252 | 323 | CANCEL OUTAGE (Repair)
253 | 324 | POLE REPLACED (Repair)
254 | 325 | RETURNED TO DUNCAN (Repair)
255 | 326 | METER REPLACED (Repair)
256 | 328 | Meter Complaint*
257 | 329 | Physical Damage*
258 | 330 | Multi Space*
259 | 331 | Remove Meter
260 | 332 | (Series\multiple circuirt no current cut in dirt, sidewalk, street and alley)
261 | 333 | (China Town light out)
262 | 334 | (DC SL OH wires still missing)
263 | 335 | Defective Fixture
264 | 336 | (Elephant ear(s) missing)
265 | 337 | (Fender light out)
266 | 338 | Globe Dirty
267 | 339 | Globe Missing
268 | 340 | Install Arm and Fixture
269 | 341 | Install Base Door
270 | 342 | Install SL Arm
271 | 343 | Install Street Light Pole/Equipment
272 | 344 | Light Dim
273 | 345 | Light on/off
274 | 346 | Light Out
275 | 347 | MPD Hot Spot Outage
276 | 348 | MPD Hot Spot Outage No Current
277 | 349 | (MPD hot spot outage no current with cut in dirt, sidewalk, street, and alley)
278 | 350 | (Navigation light out)
279 | 351 | No Current
280 | 352 | (No current surface with cut in dirt, sidewalk, street, and alley)
281 | 353 | (Obstruction light out)
282 | 354 | (Out of grade manhole fixed)
283 | 355 | Overhead Guide Sign Light Out
284 | 356 | (Overhead guide sign no current)
285 | 357 | (Paint pole)
286 | 358 | (Install Access Cover)
287 | 359 | Pole Leaning
288 | 360 | Pole Missing
289 | 361 | (Radio tower light out)
290 | 362 | Repair Sidewalk
291 | 363 | Under pass light damaged
292 | 364 | (Underpass light no current)
293 | 365 | (Install Wood Polecut in dirt,sidewalk,street and alley)
294 | 366 | (Underpass light damaged)
295 | 367 | (Bridge Light Outage)
296 | 368 | (China Town Light inspection)
297 | 369 | china Town Light inspection
298 | 370 | (Respond to damaged underpass light)
299 | 371 | (Respond to damaged overhead guide sign)
300 | 372 | (T-base inspection)
301 | 373 | (Welcome to Washington)
302 | 374 | (Base door not secure)
303 | 375 | (Bridge light dim)
304 | 376 | (Manhole frame and cover damaged)
305 | 377 | (Install Alley pole cut in dirt,sidewalk,street and alley)
306 | 378 | REMOVE BAG / ENPAT
307 | 379 | CASHBOX FAULT (Multi Space)
308 | 380 | COIN PAYMENT FAULT (Multi Space)
309 | 381 | COINS UNACCEPTED (Multi Space)
310 | 382 | DISPLAY FAILURE (Multi Space)
311 | 383 | ELECTRONIC LOCK (Multi Space)
312 | 384 | FAULT CARD PAYMENT (Multi Space)
313 | 385 | KEYPAD FAILURE (Multi-Space)
314 | 386 | LOCK FAILURE (Multi-Space)
315 | 387 | LOW PAPER (Multi-Space)
316 | 388 | MAINBOARD FAILURE (Multi-Space)
317 | 389 | MODEM FAULT (Multi-Space)
318 | 390 | MAINTENANCE KEYPAD (Multi-Space)
319 | 391 | MOBILE PAYMENT FAULT (Multi-Space)
320 | 392 | NOTE PAYMENT ERROR (Multi-Space)
321 | 393 | OPEN DOOR (Multi-Space)
322 | 394 | POWER DOWN (Multi-Space)
323 | 395 | PRINTER EMPTY (Multi-Space)
324 | 396 | PAYMENT FAILURE (Multi-Space)
325 | 397 | PRINTER FEED FAILURE (Multi-Space)
326 | 398 | POWER OFF (Multi-Space)
327 | 399 | TIMING FAILURE (Multi-Space)
328 | 400 | USER KEYPAD FAULT (Multi-Space)
329 | 401 | ACCEPT COINS (MS Repair)
330 | 402 | ACCEPT PAYMENTS (MS Repair)
331 | 403 | BAGGED / ENPAT PUT ON
332 | 404 | CLOSED DOOR (MS Repair)
333 | 405 | DISPLAY FIXED (MS Repair)
334 | 406 | END BOARD FAILURE (MS Repair)
335 | 407 | END MODEM FAULT (MS Repair)
336 | 408 | FIXED KEYPAD (MS Repair)
337 | 409 | FIXED VAULT ERROR (MS Repair)
338 | 410 | GOOD PAPER FEED (MS Repair)
339 | 411 | KEYPAD REPAIRED (MS Repair)
340 | 412 | ELECTRONIC LOCK REPAIRED (MS Repair)
341 | 413 | LOCK OPERABLE (MS Repair)
342 | 414 | POWER CONNECTED (MS Repair)
343 | 415 | POWER GOOD (MS Repair)
344 | 416 | RECHARGED BATTERY (MS Repair)
345 | 417 | ROLL REPLACED (MS Repair)
346 | 418 | REPAIRED TIMING (MS Repair)
347 | 419 | (Install missing arm)
348 | 420 | (Install missing pole\equipment)
349 | 421 | (Install missing arm and fixture)
350 | 422 | (Install missing arm and fixture)
351 | 423 | (Install missing arm and fixture)
352 | 424 | (Underdeck light out)
353 | 425 | (Underdeck light out)
354 | 426 | (Underdeck light out)
355 | 427 | (Underdeck light no current)
356 | 428 | Streetlight cut in dirt, sidewalk, street, and alley
357 | 429 | Payments Accepted (MS Repair)
358 | 430 | (DDOT Refer)
359 | 431 | (DDOT No Current)
360 | 432 | (Ready for reinspection)
361 | 433 | (No Current to Over Head)
362 | 434 | (Pepco Refer)
363 | 435 | (Remove Pole ID#)
364 | 436 | TOA SHOP TRAFFIC SIGNAL
365 | 437 | TOA SHOP STREETLIGHT
366 | 438 | (Light out-Defective Fixture)
367 | 439 | (QC Follow Up)
368 | 440 | (QC 24HR Burn)
369 | 441 | (Photo Cell Hanging)
370 | 442 | (Restoration)
371 | 443 | (Inaccurate Information)
372 | 444 | (S Capital St Bridge- Test)
373 | 445 | (S Capital St Bridge- Boat Opening)
374 | 446 | (S Capital St Bridge- Excused)
375 | 447 | Ground SPL
376 | 448 | Ground T-Base
377 | 449 | Ground Foundation
378 | 450 | Ground MH/HH
379 | 451 | Ground Foundation
380 | 452 | Groung MH/HH
381 | 453 | Repair holes for Crown
382 | 454 | Update Inventory
383 | 455 | (No Current-Low Voltage)
384 | 456 | Signage Work Required
385 | 457 | Install Equipment
386 | 458 | Remove Tape
387 | 459 | Install Tape DDOT
388 | 460 | Install Tape Chester
389 | 461 | Asset Inspection
390 | 462 | (Remove and Replace Tree)
391 | 463 | System Issue
392 | 464 | (Stray Voltage Detected)